| Terminal Block | Ch. No | Signal Name | Point Name | Wire No | Description |
| --- | --- | --- | --- | --- | --- |
| Analog Outputs |
| 40 | 0 | Ground | Gnd |  |  |
| 39 | 0 | Voltage/Current + | A+ |  |  |
| Analog Inputs |  |  |  |  |  |
| 38b | 7 | Ground | Gnd |  |  |
| 37b | 7 | Power | V |  |  |
| 38a | 7 | Return | A- |  |  |
| 37a | 7 | Voltage/Current + | A+ |  |  |
| 36b | 6 | Ground | Gnd |  |  |
| 35b | 6 | Power | V |  |  |
| 36a | 6 | Return | A- |  |  |
| 35a | 6 | Voltage/Current + | A+ |  |  |
| 34b | 5 | Ground | Gnd |  |  |
| 33b | 5 | Power | V |  |  |
| 34a | 5 | Return | A- |  |  |
| 33a | 5 | Voltage/Current + | A+ |  |  |
| 32b | 4 | Ground | Gnd |  |  |
| 31b | 4 | Power | V |  |  |
| 32a | 4 | Return | A- |  |  |
| 31a | 4 | Voltage/Current + | A+ |  |  |
| 30b | 3 | Ground | Gnd |  |  |
| 29b | 3 | Power | V |  |  |
| 30a | 3 | Return | A- |  |  |
| 29a | 3 | Voltage/Current + | A+ |  |  |
| 28b | 2 | Ground | Gnd |  |  |
| 27b | 2 | Power | V |  |  |
| 28a | 2 | Return | A- |  |  |
| 27a | 2 | Voltage/Current + | A+ |  |  |
| 26b | 1 | Ground | Gnd |  |  |
| 25b | 1 | Power | V |  |  |
| 26a | 1 | Return | A- |  |  |
| 25a | 1 | Voltage/Current + | A+ |  |  |
| 24b | 0 | Ground | Gnd |  |  |
| 23b | 0 | Power | V |  |  |
| 24a | 0 | Return | A- |  |  |
| 23a | 0 | Voltage/Current + | A+ |  |  |
| Interrupt Inputs |  |  |  |  |  |
| 22b | 3 | Signal | S |  |  |
| 21b | 3 | Excitation/Gnd In | X |  |  |
| 22a | 2 | Signal | S |  |  |
| 21a | 2 | Excitation/Gnd In | X |  |  |
| 20b | 1 | Signal | S |  |  |
| 19b | 1 | Excitation/Gnd In | X |  |  |
| 20a | 0 | Signal | S |  |  |
| 19a | 0 | Excitation/Gnd In | X |  |  |
| Counter Inputs |  |  |  |  |  |
| 18b | 1 | Signal | S |  |  |
| 17b | 1 | Excitation/Gnd In | X |  |  |
| 18a | 0 | Signal | S |  |  |
| 17a | 0 | Excitation/Gnd In | X |  |  |
| Digital Inputs |  |  |  |  |  |
| 16b | 15 | Signal | S |  |  |
| 15b | 15 | Voltage + | X |  |  |
| 16a | 14 | Signal | S |  |  |
| 15a | 14 | Voltage + | X |  |  |
| 14b | 13 | Signal | S |  |  |
| 13b | 13 | Voltage + | X |  |  |
| 14a | 12 | Signal | S |  |  |
| 13a | 12 | Voltage + | X |  |  |
| 12b | 11 | Signal | S |  |  |
| 11b | 11 | Voltage + | X |  |  |
| 12a | 10 | Signal | S |  |  |
| 11a | 10 | Voltage + | X |  |  |
| 10b | 9 | Signal | S |  |  |
| 9b | 9 | Voltage + | X |  |  |
| 10a | 8 | Signal | S |  |  |
| 9a | 8 | Voltage + | X |  |  |
| 8b | 7 | Signal | S |  |  |
| 7b | 7 | Voltage + | X |  |  |
| 8a | 6 | Signal | S |  |  |
| 7a | 6 | Voltage + | X |  |  |
| 6b | 5 | Signal | S |  |  |
| 5b | 5 | Voltage + | X |  |  |
| 6a | 4 | Signal | S |  |  |
| 5a | 4 | Voltage + | X |  |  |
| 4b | 3 | Signal | S |  |  |
| 3b | 3 | Voltage + | X |  |  |
| 4a | 2 | Signal | S |  |  |
| 3a | 2 | Voltage + | X |  |  |
| 2b | 1 | Signal | S |  |  |
| 1b | 1 | Voltage + | X |  |  |
| 2a | 0 | Signal | S |  |  |
| 1a | 0 | Voltage + | X |  |  |